January 14, 2014

Martin J. Garcia, P.E.

Anchor Engineering

1035 Bosque Loop

Bosque Farms, New Mexico  87068

RE:	Lands of Frank Sanchez

Grading and Drainage Plan

Engineers Stamp Date 12/04/13 (M14-D029)

Dear Mr. Garcia,

Based upon the information provided in your submittal received 12/04/13, the above referenced Grading and Drainage Plan is approved for Building Permit. Hydrology is asking that all landscaped areas are depressed to retain the first ¼” of rain.

Please attach a copy of this approved plan to each of the Building Permit sets, prior to seeking approval by the Hydrology section.

Prior to Certificate of Occupancy release, an Engineer Certification of the as-constructed, Grading and Drainage Plan will be required, per the DPM checklist.

If you have any questions, please contact me at 924-3994 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Principal Engineer, Planning Department

Development and Review Services

RR/SB

C: File