May 7, 2015

Joel Hernandez, P.E.

Tierra West, LLC

5571 Midway Park Pl NE

Albuquerque, NM 87109

**Re: Chili’s - Gibson and University**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 11-6-14 (M15E012B)**

Dear Mr. Hernandez,

Based upon the information provided in your submittal received 3-27-15 the above referenced plan cannot be approved to be included in the SWPPP and for Grading Permit/Building Permit until the following comment is addressed:

1. Show the turnaround/hammer head ROW work and provide BMPs as necessary.

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email