June 12, 2013

Jeffrey T. Wooten, P.E.

Tierra West, LLC

5571 Midway Park Pl. NE

Albuquerque, NM 87109

Re:	Capstone Student Housing Erosion and Sediment Control Plan

Engineer’s Stamp dated 05-17-2013 (M-15/D026)

Dear Mr. Wooten,

Based upon the information provided in your submittal received 05-17-13, the above referenced plan cannot be approved for Erosion and Sediment Control Plan until the following comments are addressed:

- Provide finished contours on the ESC plan.

- The ESC plan must be oriented in the same manner as the submitted grading and drainage plan.

- Clarify the extents of the grading operations to take place for the mitigation area; the proposed layout for the silt fence encompasses the entire lot, however, the associated grading plan only calls for grading permit in the mitigation area.

If you have any questions, you may contact me by telephone at 505-924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Department

Development and Building Services