November 21, 2013

Jeffrey T. Wooten, P.E.

Tierra West, LLC

5571 Midway Park Pl. NE

Albuquerque, NM 87109

Re: 	Revised Capstone Drainage Management Plan

Zone 2 Grading Plan

Engineer’s Stamp Date 11-20-2013 (M-15/D026)

Dear Mr. Wooten,

Based the following plans and documents provided in your submittal received          11-20-13 the project is approved for Building Permit for buildings 1 through 28 and the maintenance building east of building 1.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you may contact me by telephone at 505-924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Department

Development Review Services

C:	e-mail