October 22, 2013

David Soule, P.E.

Rio Grande Engineering

P.O. Box 93924

Albuquerque, NM 87199

Re:	Hampton Inn At The Sunport Grading and Drainage Plan

Engineer’s Stamp dated 10-11-13 (M15/D043)

Dear Mr. Soule,

Based upon the Grading and Drainage Plan submittal received 10-11-13 and the recorded easement received 10/18/2013, the above referenced Grading Plan is approved for building permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Review Services

C:	E-mail