1321 Flightway Ave Calculations

Estimated Soil Pile Volume (4/18/23) assumed 2 feet depth of piles (leveled):

1378.9 sq. yds. X (2/3) yds = 919.27 cu. Yds.

Estimated volume of elevated and leveled area, assumed 3 feet height:

998.18 sq. yds. X (3/3) yds. = 998.19 cu. Yds.

Estimated total volume of soil:

919.27 + 998.18 = 1,917.45 cu. Yds.