April 4, 2012

Timothy K. Hightower, P.E.

Thames Engineering and Design

10212 Arroyo Bend NW

Albuquerque, NM 87114

Re:	Plastic Machine Shop

Grading and Drainage Plan, 2601 Baylor SE

Engineer’s Stamp Date 3-01-12 (M16/D037)

Dear Mr. Hightower,

Based upon the information provided in your submittal received March 28, 2012 the above referenced plan can not be approved until the “Private Facility Drainage Covenant/ Reciprocal easement For Private Common Access & Private Drainage Easement” are finalized and recorded.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit.  The permit is available online at www.cabq.gov/Planning/landcoord/Hydrology.html

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail