## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
Project Name: |  | Volterra Unit 3
Location: |  | Juan tabo and Cavalcade
Site Contact Name & Agency |  | Eddie Loven |  |  |  | ESC File No. | M22E016C
|  | LGI Homes |  |  |  | NPDES Id. No. | NMR1000AZ
Inspection Date: |  | 2019-06-06 | Start/End Time: |  | 2:00/2:25
CoA Stormwater Inspector: |  |  | Curtis Cherne | [9 empty] | Rain
Construction Phase: |  | Constructing Homes | [10 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event |  | Post Storm Event >0.25" |  |  | 311/Complaint | X | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  |  | Temperature: ~ |  |  | 85 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [6 empty] | 2019-05-10 | [5 empty] | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [12 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | Numerous washouts at lot across the street from 1612 Volponi by PNM box
2 | sediment in gutter and inadequate sediment BMP on lot north of 1608 Volponi
3 | Washout in subdivision washout area not completely removed
4 | inadequate sediment BMP on lot north of 1609 Borrego
5 | Construction waste not in an acceptable container on lot across form 1613 Borrego
6 | Construction and domestic waste not in an acceptable container lot across from 1619 Borrego
7 | Washout on lot across the street form 1613 Borrego
Yes
2.1 | Discharge off site? (Y/N) |  |  | No | [7 empty] | No
4 | Self Inspection Reports |  |  |  |  | Latest report Date: |  | 2019-05-24
Notes:
The lumber can be temporarily stored on the dirt.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Curtis Cherne PE, 505-924-3420
|  | ccherne@cabq.gov |  |  |  |  | 2019-06-06

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action