## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | M21E018_T |  | Project Name: |  | Volterra - Juan Tabo Hills
NPDES Id. No. | NMR1003L0 |  | Location: |  | 11404 Rock Squirrel Ave SE
2022-02-02 |  | Owner/Contractor |  |  |  | DA ?
Operator |  | Twilight Homes
Contact name & title |  | Tim Mcnaney |  |  |  | Alex Grannan
e-mail |  | tmcnaney@twilighthomesnm.com |  |  |  | agrannan@mtventerprises.com
Contact Phone # |  | 505-975-1154 |  |  |  | 974-1627
COA Inspector |  | James Hughes |  |  |  | Start/End Time: |  | 11am |  |  |  | Rain
Construction Phase: |  | Vertical | [9 empty] | Clear/ Windy
Type of Inspection: |  |  |  | Storm Event | Past Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? | [5 empty] | Temperature: ~ |  |  | 27 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2022-02-02 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP not up-to-date.(Sold lots and IP not on map, Operator Certification not signed, Operator signature missing from reports and reports not current, Deligations of authority don't meet requirements of CGP App 'I.11'
4
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date: |  | 2021-04-07
Notes: | Posting was OK, SWPPP at sales model. Reports missing.
Self inspection reports not received. Called Tim voice mail full so left message for Alex.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Jamed Hughes 505-924-3420
jhughes@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action