August 2, 2013

Åsa Nilsson-Weber

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, NM 87108

Re: 	Four Hills Park Grading and Drainage Plan

Engineer’s Stamp date 06-25-13 (M22/D008)

Dear Ms. Weber,

Based upon the information provided in your submittal received 06-26-13, the above referenced plan cannot be approved for Grading and Paving Permit until the following comments are addressed:

- Is there a public drainage easement on the property to the north?

- Are there any offsite runoff entering the park?

- Please angle the discharge point away from the pole located at the northwest corner of the property.

- Please increase the size of the existing spot elevations and contour labels.  A retaining might be required at the southwest corner of the project.

- Provide flow numbers at the two curb openings on the north side of the project?  The concentrated runoff will create erosion. Can we spread the discharge over a wider area?

- What is the total runoff volume being retained within the water harvesting areas?

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail