October 17th, 2012

Diane Hoelzer, P.E.

Mark Goodwin & Associates, PA

P.O. Box 90606

Albuquerque, NM 87199

Re:	Juan Tabo Hills Unit 3B Grading and Drainage Plan

Engineer’s Stamp dated 9-20-12 (M22/D016B)

Dear Ms. Hoelzer,

Based upon the information provided in your submittal received 9-21-12, the above referenced plan is approved for Preliminary Plat action by the DRB.  Since eh board approved the grading plan, the plan is approved for Grading Permit.

Prior to Final Plat approval, the LOMR “The Juan Tabo Hills Tijeras Arroyo Improvements”, case number 11-06-3082P, must be approved.

Since an updated sheet, Sheet 5A, containing lot details and sections AA-JJ was not provided; the sheet stamp date 4-1-10 is still applicable.

A Floodplain Development Permit, through this office, will be required for any grading or construction in a floodplain.

Since this plan proposes grading on City of Albuquerque Open Space property, approval from the Open Space Division is required.

If you have any question, please contact me at 924-3986.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

Copy: e-mail