March 19, 2014

Diane Hoelzer, P.E.

Mark Goodwin & Associates, PA

P.O. Box 90606

Albuquerque, NM 87199

Re:	Juan Tabo Hills Unit 3B Grading and Drainage Plan

Engineer’s Stamp dated 2-18-14 (M22/D016B)

Dear Ms. Hoelzer,

Based upon the information provided in your submittal received 2-18-14, the above referenced plan cannot be approved for Grading Permit until the following until the following comments are addressed:

- It is not clear how the uphill townhouse will drain around the uphill side of the building.   Provide backyard corner spot elevations.

- The 5 foot private drainage easement should be vacated.  The vacation and replat is required prior to acceptance of the engineer’s certification for Release of Financial Guarantee.

- A Floodplain Development Permit is required.  I have included one with the e-mailing of this letter.

- What is that wide object running north-south near the terminus of Via Posada Rd.?  A keyed note may help.

- Since this plan proposes grading on City of Albuquerque Open Space property, written approval from the Open Space Division is required.

- Please check the print quality before resubmitting, some of the line work at the rip-rap detail is very faint or did not show at all.

- This will be the plan to certify for Release of Financial Guarantee and Building Permit approval.

If you have any question, please contact me at 924-3986.

Sincerely,

Curtis A. Cherne, P.E.

Principal Engineer, Hydrology

Planning Department

Copy: e-mail