October 16, 2013

Richard J. Berry, Mayor

Verlyn Miller, P.E.

Miller Engineering Consultants

3500 Comanche  NE,  Bldg. F

Albuquerque, New Mexico  87107

RE:	RFK Charter School – 4300 Blake Road SW   		File  N10-E006

Erosion and Sediment Control Plan	 		PE Stamp: 8/23/13

Dear Mr. Miller,

Based upon the information provided in your submittal received 10/9/2013, the above Erosion & Sediment Control (ESC) plan is approved for Building Permit.

One clarification to be corrected in the field, Serial DWG 601-01-7/7 calls for a minimum length of 50-feet on the Stabilized Construction Entrance.  Your sheet C-103 scales only 25’ long.  Please ensure that this is addressed on the plan and by the SWPP inspection team.

Remember, the Contractor and Owner need to complete the eNOI (Notice Of Intent) through the EPA website prior to construction.

If you have any questions, please contact me at grolson@cabq.gov or phone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Orig:	ESC file  N10-E006

c.pdf	Addressee via Email: VMiller@MECnm.com