## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | P09E004 |  | Project Name: |  | Tierra Linda Apartments
NPDES Id. No. | NMR1007A3 |  | Location: |  | 9801 Ceja Vista Daytona Rd. SW
2025-12-03 |  | Owner |  |  |  | Contractor
Operator |  | DBG Properties LLC |  |  |  | Gatekeeper Construction Inc
Contact name & title |  | Eric Grodahl |  |  |  | Paul Ochs
e-mail |  | egrodahl@dbgpropertiesllc.com |  |  |  | paul@gatekeeperconst.com
Contact Phone # |  | 503-860-3298 |  |  |  | 623-433-6438
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1pm |  |  |  | Rain
Construction Phase: |  | Utilties, verticals | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Cloudy |  | Temperature: ~ |  |  | 40 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2025-11-20 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The inspection reports were not available on-site at the time of the City's inspection in violation of CGP Part 4.7.3. The construction support activity area on the south side across Ceja Vista Rd is not shown on the SWPPP map in violation of CGP Parts 7.2.4 and 7.4.1. Required mitigation: You must keep a copy of all inspection reports at the site or at an easily accessible location so that they can be made immediately available at the time of an on-site inspection per CGP Part 4.7.3. Your site map must include locations of on-site and off-site construction support activities (CGP Part 4.2.4.vii) and must be modified whenever you make changes to your construction plans, stormwater controls, or other activities at your site that are no longer accurately reflected in your SWPPP (CGP Part 7.4.1.a).
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | No | Latest report Date: |  | N/A
Notes: | The SWPPP is in the construction office to the south of the construction area.
The NOI for Gatekeeper Construction Inc. (NMR1007A4) has been denied by the EPA and is technically "Inactive".
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English 505-924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action