March 4, 2014

Richard J. Berry, Mayor

FASTrax

Mr. Fred Arfman, P.E.

Isaacson & Arfman, P.A.

128 Monroe St. NE

Albuquerque, New Mexico  87108

RE:	Lamonica Shops  -  3510 Coors Blvd. SW           			 File:  P10-D005

Grading and Drainage Plan for Building Permit

PE Stamp: 3-4-2014

Dear Mr. Arfman,

Based upon the information provided in your submittal received 3/4/14, the subject Grading and Drainage Plan is approved for Building Permit.

Please include a copy of this plan in the Building Permit plan set, prior to seeking Hydrology signoff.

Prior to Certificate of Occupancy release by Hydrology, an Engineer’s Certification of the Grading Plan per the DPM checklist will be required.

Hydrology is asking for an electronic copy of this signed plan in .pdf format, for our records.  This plan can be e-mailed to me at: GROlson@cabq.gov .

If you have questions, please email me or telephone 505-924-3994.

Sincerely,

Gregory R. Olson, P.E.

Senior Engineer

Development and Building Services

Orig:	Drainage file   P10/D005

c.pdf	Addressee via Email  FredA@IAcivil.com