January 9, 2013

Christian J. Sholtis, P.E.

Bohannan Huston, Inc.

7500 Jefferson NE

Albuquerque, NM 87109

Re:	Mesa Del Sol Montage Unit 2, Overall Grading Plan

Engineer’s Stamp date 1-2-13 (R16/D003B)

Dear Mr. Sholtis,

Based upon the information provided in your submittal received 1-2-12 and 1-7-12, the above referenced plan is approved for Final Plat action by the DRB.  Since the DRB approved the Grading Plan the plan is approved for Grading Permit.

This is the plan to certify for release of Financial Guarantees and for Building Permit approval.

Hydrology noticed that approximately 2 cfs from Lots 11 through 14 of Block 6 was changed from draining from Penn Ave. to the alley.  This raised the water surface elevation in the alley approximately 0.03 feet and added to the bypass down Avedon Dr into University Blvd.  Hydrology noted this in the drainage report and on the grading plan.

In the future you should include, as a minimum, a cover letter that explains the change in drainage and that it is acceptable.

If you have any questions, you can contact me at 924-3986.

Sincerely,

Curtis Cherne, P.E.

Principal Engineer, Planning Dept.

Development and Building Services

Copy:  e-mail