January 25, 2013

Fred C. Arfman, P.E.

Isaacson & Arfman, PA.

128 Monroe NE

Albuquerque, NM 87108

Re:	Mesa Del Sol Community Swimming Pool

Grading and Drainage Plan

Engineer’s Stamp date 1-16-13 (R16/D005)

Dear Mr. Arfman,

Based upon the information provided in your submittal received 1-16-13, the above referenced plan is approved for Building Permit. Hydrology is requesting that proposed landscape areas be depressed to retain/infiltrate the rain that falls on them.

Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.

Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

If you have any questions, you can contact me at 924-3695 or Rudy Rael at 924-3977.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

RR/SB

C:	e-mail