December 24, 2018

Mike Balaskovits, P.E.

Bohannan Huston, Inc.

7500 Jefferson St NE Courtyard 1

Albuquerque, NM 87114

**Re: Mesa Del Sol Unit 3B**

**Erosion Sediment Control Plan**

**Engineer’s Stamp Date 12-19-18 (R16E006)**

Dear Mr. Balaskovits,

Based upon the information provided in your submittal received 12-21-18, the above referenced plan is approved to be included in the SWPPP and to apply for an ESC Permit for grading and Building Permit and Work Order.

In the future:

1. Provide existing and proposed grades. The best way to accomplish this may be to superimpose the BMPs on the grading plan.

2. Show all areas of disturbance.

Happy Holidays!

If you have any questions, you can contact me at 924-3420.

 Sincerely,

 Curtis Cherne, P.E.

 Principal Engineer, Stormwater Quality

Planning Dept.

C: email