## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | R16E006_P |  | Project Name: |  | Mesa Del Sol Unit 3B
NPDES Id. No. | NMR1002K1 |  | Location: |  | Strand Loop and Dekooning Ave. SE
2022-02-04 |  | Owner |  |  |  | Contractor
Operator |  | Pulte Homes |  |  |  | Pulte Homes
Contact name & title |  | Dan Mallak |  |  |  | Matt Sena
e-mail |  | dan.mallak@pultegroup.com |  |  |  | troycrutchfield2@pulte.com
Contact Phone # |  | 505-554-6273 |  |  |  | 603-7159
COA Inspector |  | Doug Hughes |  |  |  | Start/End Time: | 2pm |  |  |  | Rain
Construction Phase: |  | Home construction | [8 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Past Storm Event >0.25" |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | rain |  | Temperature: ~ |  | 26 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2022-01-01 |  |  |  | 2021-02-22 | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [10 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | none
2
3
4
5
6
7
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [5 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date:
Notes:
2 houses remain. Posting and SWPPP at models.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Doug Hughes
jhughes@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action