## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | R16E006A_P |  | Project Name: |  | Mesa del Sol Units 3B and 4A
NPDES Id. No. | NMR1004QO |  | Location: |  | Dekooning Loop
2024-05-14 |  | Owner |  |  |  | Contractor
Operator |  | Pulte Homes |  |  |  | Same
Contact name & title |  | Kevin Patton
e-mail |  | kevin.patton@pultegroup.com
Contact Phone # |  | 505-341-8591
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: |  | 1030am |  |  |  | Rain
Construction Phase: |  | verticals | [9 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Post Storm Event >0.25" |  |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | Clear |  | Temperature: ~ |  |  | 80 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [7 empty] | 2024-04-01 |  |  |  | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [11 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | SWPPP - The self-inspection reports were not signed by the operators signatory in violation of CGP Part 4.7.2. Required mitigation: Each inspection report must be signed by the operator's signatory in accordance with Appendix G, Part G.11 of the CGP.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [6 empty] | No
4 | Self Inspection Reports |  |  | Yes | Latest report Date: |  | 2024-05-02
Notes:
SWPPP was attached to the posting located at the DeKooning Loop and Strand Loop intersection.
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action