## 26.03.13Form
City of Albuquerque | [7 empty] | Inspection: | Weather: | Violation: | Reports: | Discharge: | ROW: | Yes/No/NA
Stormwater, Erosion, and Sediment Control | [7 empty] | Inspection | Weather | Violation | Reports | Discharge | ROW Type | Yes/No/NA
Construction Site Inspection Report | [13 empty] | Yes
General Information | [7 empty] | Pre-Construction | Ice | None | Yes | Shadow | Other | No
ESC File #: |  | R16E006C_R |  | Project Name: | RMH at Mesa Del Sol Unit 5 |  |  | Routine | Hail | NOI | No | Yes | Sidewalk | N/A
ABQ-PLAN #: |  | SWQ-2025-00020 |  | Project Address: | Scholer Ave and Gilpin Dr SE |  |  | Follow-up | Snow | Posting | Requested | No | Street
NPDES ID #: |  | NMR10073L |  | Inspection Type: | Routine |  |  | 311/Complaint | Clear | SWPPP | Out-of-date |  | Storm Drain Inlet
2026-03-30 |  | Owner |  |  | Contractor |  |  | Storm Event | Rain | BMPs | Unsigned |  | Drainage Ditch
Operator: |  | Richmond American Homes of New Mexico | [5 empty] | Post Storm Even >0.25" | Clear/Windy | Sediment |  |  | Arroyo
Contact Name: |  | Troy Crutchfield | [6 empty] | Windy | Washout |  |  | Private Property
Contact e-mail: |  | troy.crutchfield@mdch.com | [6 empty] | Cloudy | Litter |  |  | N/A
Contact Phone: |  | 505-228-1401 | [6 empty] | Sleet | Porta-potty
COA Inspector: |  | Chancellor English |  | Date of Inspection: | 3/26-27/2026 | Time of Inspection: | 12pm |  |  | Stabilization
NPDES Posting? |  | Yes | SWPPP? | No | Notice of Intent? | No
Self-Inspection Reports? |  |  | No | Date of last report: | N/A
Weather during inspection: |  |  | Clear/Windy | Estimated date of last storm 0.25" or greater: |  | 2026-01-25 | Snow
Temperature: ~ |  | 85 | Construction Phase: | Verticals
Discharge off-site? |  | No | ROW: | N/A
Item # | Violation Category | Deficiency/Corrective Action
1 | Washout | There is concrete washout on bare ground surrounding the washout pit in violation of CGP Part 2.3.4. Required mitigation: Direct wash water into a leak-proof container or a leak-proof and lined pit designed so no overflows can occur due to inadequate sizing or precipitation per CGP Part 2.3.4. Do not allow liquid wastes to be disposed of through infiltration or to otherwise be disposed of on the ground.
2 | SWPPP | The SWPPP and inspection reports were not available at the time of the inspection in violation of CGP Parts 4.7.3 and 7.3. Required mitigation: You must keep a copy of the current SWPPP and all inspection reports at the site or at an easily accessible location so they can be made immediately available during the time of an on-site inspection per CGP Parts 4.7.3 and 7.3.
Notes:
The SWPPP was not located in the mobile construction office next to the leasing office.
City of Albuquerque Stormwater Inspector Signature and date:
Contact information: Chancellor English (505) 924-3325
cenglish@cabq.gov

## Page 2
City of Albuquerque
Stormwater, Erosion, and Sediment Control
Construction Site Inspection Report - Page 2
General Information
ESC File #: |  | R16E006C_R |  | Project Name: | RMH at Mesa Del Sol Unit 5
ABQ-PLAN #: |  | SWQ-2025-00020 |  | Project Address: | Scholer Ave and Gilpin Dr SE
NPDES ID #: |  | NMR10073L |  | Inspection Type: | Routine
COA Inspector: |  | Chancellor English |  | Date of Inspection: | 3/26-27/2026 | Time of Inspection: | 12pm
Item # | Violation Category | Deficiency/Corrective Action
1 | Violation
2 | NOI
3 | Posting
4 | SWPPP
5 | BMPs
6 | Sediment
7 | Washout
8 | Litter
9 | Porta-potty
10 | Stabilization
11
12
13
14
15
Notes:
City of Albuquerque Stormwater Inspector Signature and date:
Contact information: Chancellor English (505) 924-3325
cenglish@cabq.gov
pg 2