## 04.2019Form
City of Albuquerque Stormwater Construction Site Inspection Report
General Information
ESC File No. | R16E097A |  | Project Name: |  | SD O-7 MDS
NPDES Id. No. | NMR1004DT |  | Location: |  | Stryker/ Fellini St |  |  |  |  | mikef@thewestway.com
2024-05-16 |  | Owner |  |  |  | Contractor
Operator |  | SC3 Development |  |  |  | Compass |  |  |  | mannybarrera@ravenswingconsulting.com
Contact name & title |  | Tom Schmidt
tom@SC3development.com
Contact Phone # |  | 505-238-0700
COA Inspector |  | Chancellor English |  |  |  | Start/End Time: | 11am |  |  |  | Rain
Construction Phase: |  | Excavating | [8 empty] | Clear/ Windy
Type of Inspection: |  | Regular |  | Storm Event | Past Storm Event >0.25" |  | 311/Complaint |  | Follow Up |  | Windy
Clear
Weather at time of inspection? |  |  |  | clear |  | Temperature: ~ |  | 70 |  |  | Cloudy
Estimated date of last storm 0.25" or greater | [5 empty] | 2024-04-01 |  |  |  | 2021-02-22 | Sleet
Clarify amount: ( i.e.. <1/4" to >3/4"): | [10 empty] | Fog
Item Number | Deficiency/ Corrective Action
1 | Posting - There was no permit coverage posting onsite in violation of CGP Part 1.5. Required mitigation: You must post a sign or other notice of your permit coverage at a safe, publicly accessible location in close proximity to the construction site. The notice must be located so it is visible from the public road that is nearest to the active part of the construction site, and it must use a font large enough to be readily viewed from a public right-of-way per CGP Part 1.5.
2 | SWPPP - The SWPPP and self-inspection reports were not available during the inspection in violation of CGP Parts 4.7.3 and 7.3. Required mitigation: You must keep a current copy of your SWPPP at the site or at an easily accessible location so that they can be made available at the time of an on-site insepction per CGP Parts 4.7.3 and 7.3. If an on-site location is unavailable to keep the SWPPP when no personnel are present, notice of the SWPPP's location must be posted near the main entrance of your construction site.
Please provide latest self inspection report.
Yes
2.1 | Discharge off site? (Y/N) |  |  | no | [5 empty] | No
4 | Self Inspection Reports |  |  | Requested | Latest report Date:
Notes:
City of Albuquerque Stormwater Inspector Signature and date:
| Contact information: |  | Chancellor English (505) 924-3325
cenglish@cabq.gov

## Addendum
ESC File No. |  | Addendum to Deficiency Items
Date
Item Number | Deficiency/ Corrective Action