July 26, 2012

Jeff Mulbery, P.E.

Bohannan Huston, Inc.

7500 Jefferson NE

Albuquerque, NM 87109

Re:	International School at Mesa Del Sol-Phase 4

Grading and Drainage Plan, (R16DA3009)

Portion of Tract P, Mesa Del Sol Innovation Park II, Received 7/18/2012

Dear Mr. Mulbery,

Based upon the information provided in your submittal received with Engineer Stamp dates 07/11/2012 on the Grading and Drainage Plan and 07/18/2012 on the Drainage Management Plan, the grading and Drainage Plan is approved for Building Permit.

This project requires a National Pollutant Discharge Elimination System (NPDES) permit for storm water discharge for disturbing one acre or more and a Topsoil Disturbance Permit for disturbing ¾ of an acre or more.  Please attach a copy of this approved plan to the construction sets prior to sign-off by Hydrology.  Prior to Certificate of Occupancy release, Engineer Certification per the DPM checklist will be required.

Albuquerque’s MS4 Permit became effective March 1st, 2012.  Grading and Drainage Plans and Drainage Reports will have to comply with the requirements of the new permit (http://www.cabq.gov/planning/landcoord/Hydrology.html).

If you have any questions, you can contact me at 924-3695.

Sincerely,

Shahab Biazar, P.E.

Senior Engineer, Planning Dept.

Development and Building Services

C:	e-mail